Dear Editor;

Dr. Katarzyna Agnieszka Rutkowska,

Recently your reviewers provided much-appreciated feedback on our submitted manuscript entitled “Dual-wavelength passively Q-switched erbium-doped fiber laser with MWCNTs slurry as saturable absorber”. We thank the reviewers for their expert opinion to make this work more understandable and comprehensive. We hereby present our response to your reviewers' remarks, in which we provide justifications and describe the manuscript updates introduced in acknowledgement of their considerations. We hope these enhancements to the original paper will add more clarity to our work.

Thank you.

| No | Reviewer Comment | Author Revision |
| --- | --- | --- |
| 1 | What are the characteristics of the saturable absorber (i.e. modulation depth, insertion losses, etc.). Those parameters should be given if possible. | The insertion lossis accidently left out in the paper and is about 4.5 dB. The modulation depth have not been investigated yet because we do not have the femtosecond laser source in our facility. |
| 2 | Regarding the sentence “The intrinsic non-linear properties of MWCNTs slurry induced birefringence to produce dual wavelength Q-Switched Erbium-Doped Fiber Laser”, please explain how MWCNTs induce birefringence and why it produces a dual-wavelength operation. | The sentence has been changed to “Four-wave mixing (FWM) is induced due to the strong third-order nonlinear optical property of the MWCNTs slurry. The self-stabilizing effect from the FWM aided the simultaneous dual wavelength generation.” |
| 3 | The signal-to-noise ratio is incorrectly measured, i.e. there is a visible noise above the level indicated in the figure 8. | The signal-to-noise ratio have been recalculated and corrected. The measured SNR is about 62 dB. |
| 4 | The sentence “The generated pulsed produced maximum peak power and maximum pulse energy of 2.05 mW and 11.97 nJ and 2.05 mW” should be corrected. | The sentence have been corrected. |
| 5 | Three different affiliations are listed in the manuscript but none of the authors is affiliated with the second one. | The typo error has been corrected. |
| 6 | The manuscript should be carefully checked for typos and language errors. | The manuscript is checked and revised. |