Wedge-cell technique as simple and effective method for chromatic dispersion determination of liquid crystals

Katarzyna A. Rutkowska, Kamil Orzechowski, and Marek Sierakowski

1Faculty of Physics, Warsaw University of Technology, Koszykowa 75, 00-662 Warszawa,

Received June 27, 2016; accepted XXXXX 4, 2016; published XXXX 5, 2016

Abstract—In this letter we present a wedge-cell method and then compare it with other techniques that can be used to determinate refractive indices of liquid crystalline materials. This simple goniometric technique is of particular significance when used for liquid crystalline materials characterized by high refractive indices, for which refractometric methods are approaching their upper limits. Importantly, a measurement technique proposed here requires relatively small amount of liquid crystalline material and gives appropriate results for different light sources from the wide spectral range, allowing thus for chromatic dispersion curves (in different temperatures) to be obtained.

Fig. 1. Experimental setup for LC refractive index measurement with use of the wedge-cell technique.

Liquid crystals (LCs) are unique anisotropic materials with special optical properties. In particular, their refractive indices strongly depend on temperature and molecular orientation, what plays an important role in practical applications of LCs in photonics. Most of LCs are uniaxial and their optical birefringence, defined as a difference between extraordinary and ordinary refractive index (Δn=ne−no), together with their chromatic dispersion, are the most important parameters to be determined in order to ensure proper design, fabrication and functionality of LC-based photonic elements and devices. It is critical thus to deliver and elaborate a convenient and accurate method for refractive index measurements, specifically in broad spectral range and as a function of the temperature [1-7]. Typically, optical characterization of liquid crystalline materials in terms of chromatic dispersion is performed at the room temperature, while a thermal dependence of refractive indices is usually given for one wavelength only (e.g. 589nm which is characteristic for D-sodium-line). Such information is insufficient when used for proper design and operation of LC-based photonic devices.

Experimental setup proposed here, schematically shown in Fig. 1, allows for various monochromatic lasers sources, as well as tunable light source in form of monochromator to be applied in order to determine refractive indices of liquid crystalline materials under tests. Critical issue in the method described here is to place a liquid crystalline material between two glass plates forming a wedge-cell of relatively small angle (of a single degree) and to introduce planar alignment of the liquid crystalline molecules on the glass substrates. For experimental procedure the wedge angle has to be known and it can be determined by illuminating the empty cell with the beam perpendicular to the one of the glass plates and measuring the distance between the spots coming from the reflection (d1 on screen A).

When the liquid crystal is placed inside the wedge-cell two spots are observed on screen B due to the anisotropy of tested material. These spots correspond to the ordinary and extraodinary rays and they are distanced by d2o and d2e, respectively, with respect to the initial spot given by the beam passing through the wedge-cell when it was empty. Relatively long distance L2 between the wedge-cell and the screen B, which allows for good spatial separation of the spots, requires that the light beams used for measurements are well-collimated. However, there is no need for them to be neither coherent nor polarized. Use of the linearly polarized light with its direction parallel or perpendicular to the molecular orientation is not recommended. To obtain high precision of the measurements and for automation of the measurement process, the positions of the spots on the screen B are observed and registered with use of CCD camera. In this way, further elaboration of the photos allows for precise determination of the distances d2o,e with an accuracy less than quarter of millimeter (for laser sources) and of about millimeter when monochromator is used (which increases mainly due to the low intensity and high spatial divergence of the beam).

Eventually, by performing the measurements of the distances between the spots on the screens (d1 and d2o,e) and distances between the wedge-cell and the screens (L1 and L2), the ordinary and extraordinary refractive indices of liquid crystalline material under tests can be calculated with use of the following formula:

(1)

where: α is the wedge angle, ψo,e are the angles at which ordinary and extraordinary rays are refracted at the LC-air boundary, d1 is the distance between the spots on screen B corresponding to the rays reflected from the glass plates in the empty wedge-cell, with assumption that the one of them is perpendicular to the input light beam direction; L1 and L2 are the distances from the light source (mirror on the screen A) to the wedge-cell and from the wedge-cell to the screen B, respectively.

Fig. 2. Chromatic dispersion curves for 6CHBT LC determined in the room temperature with use of the wedge-cell method (solid lines) when four laser diodes (a) and (b) monochromator has been applied as a light source. Dashed curves represents data given in literature (slight differences are mainly due to the different temperatures in which refractive indices have been measured). (c) Thermal dependence of refractive indices for 6CHBT, where characteristics for D-sodium-line (yellow line) are taken from literature [8, 9].

Uncertentities of the refractive indices calculated with use of Eq. (1) are given by the following expression:

(2)

where:while u(Li) and u(di) are uncertainties of the distances measured in experimental conditions and they are in the range of single millimeters for L1,2 and parts of millimeters for d1,2.

Illustrative experimental results obtained with use of described method are presented in Fig. 2. Specifically, chromatic dispersion of 6CHBT [i.e. 4-(trans-4’-n-hexylcyclohexyl) isothiocyanatobenzene], which is typical liquid crystalline material, have been determined at the room temperature (~25oC) for four different wavelengths of the laser beams (405nm, 442nm, 532nm and 660nm). Calculated values of refractive indices (with their uncertainties) are presented in Fig. 2a, where dispersion curves are numerically fitted basing on the three-parameters Cauchy model: no,e= Ao,e + Bo,e·λ-2 + Co,e·λ-4 (solid line) [10]. Analogical curves known from literature and found with use of different experimental methods are represented by the dashed lines and given for comparison. As already mentioned, the monochromator (here Newport MS257 1/4m) can be applied, as the second, optional light source which allows for greater number of the wavelengths to be tested within a wider spectral range. The main limitations in this case are only the relatively low light intensity and high divergence of the beam leaving the monochromator output. To overcome this problem we decided to launch the light beam into the multimode fiber and then form it with use of the collimator. Moreover, special settings of the CCD camera (i.e. high gain and long exposition time) have been applied in order to register beam spots on screen B. Eventually, the chromatic dispersion of 6CHBT LC has been obtained for the wide spectral range (Fig. 2b) and it is also in good agreement with literature data and with experimental results obtained with the use of laser sources in the same setup.

It is worth to note that proposed experimental setup is build in such a way that it allows for thermal dependence of LC refractive indices to be characterized. For this purpose a special heating module, based on Peltier cells is used to keep a cell under the thermal insulation. Thermal dependence of 6CHBT refractive indices determined by performed measurements are presented in Fig. 2c, where theoretical curves obtained with the use of the refractometer and the sodium lamp elsewhere [8] match well obtained characteristics.

In conclusion, the relatively cheap and reliable technique allowing for LC chromatic dispersion determination (also as a function of temperature) have been presented. Results obtained for typical liquid crytalline material are in good agreement with literature data. Experimental setup allows high birefringence of liquid crystals to be measured. Specifically, measurements performed in this setup for the 2030 LC mixture synthesized at the Military University of Technology (Warsaw) and reported elsewhere [10] concluded with the birefringence of about 0.66 and ne of about 2.23 for the wavelength of 405nm at the room temperature. It is important to note that the proposed method requires a small amount of LCs to be placed under test. The accuracy of the system for refractive indices measuring is up to the third decimal. When compared to other methods one can note some pros and cons as listed in the following table.

| Advantages | Disadvantages |
| --- | --- |
| Wedge-cell method [2, 4] |
| easy way to determine ordinary and extraordinary refractive indices of LCs (and thus birefringence) as a function of wavelength and temperature based on simple geometrical measurements; no need to use polarized or coherent beam; small amount of LC material is required; measurements can be performed for highly birefringent liquid crystals; unlimited number of light sources can be applied and thus wide spectral range can be considered. | relatively big experimental setup is required for precise measurement of wedge angle and for spatial separation of the ordinary and extraordinary rays; new (empty) wedge-cells are required for each monochromatic laser source applied independently in the measurements; |
| Abbe Refractometer [7, 11] |
| all setup located in one device – simple in use, simple measurement procedure; compactness and portability of the measurement setup; easy way for thermostat to be included in the setup in order to precise measurement of refractive indices as a function of temperature (with accuracy of 0.1oC); by using filters and white light source it is possible to determine refractive indices for different wavelenghts; high precision in the order of about 10-4÷10-5 can be obtained. | measurements are mostly restricted to the mean value of refractive index; for measurements of no and ne new techniques for applications of orienting layers in measurement device have to be elaborated; limitations in the birefringence values to be measured. |
| Fabry-Perot Etalon [1] |
| possibility of no and ne to be measured based on analyzes of the interference image obtained for specific polarization; high precision in the order of about 10-5÷10-6 can be obtained. | LC cells should be coated with highly reflective layers (e.g. made of gold) in order to obtain clear interference pattern; relatively thick LC cells are required for interference pattern to be observed; coherent light sources are required. |
| Speckle interferometry [3] |
| relatively simple optical setup for LC birefringence measurements. | limitations in birefringence values to be measured; coherent light sources are required. |
| Michelson Interferometer [5-7] |
| even small phase shifts can be measured; high precision can be achieved. | complicated and complex optical setup; relatively thick LC cells are required in order to obtain clear interference pattern; coherent light sources are required; instability of the optical setup (e.g. air-flow) may significantly decrease precision of the refractive index determination. |

This work was partially supported by the Polish National Science Center under the grant no. DEC-2013/11/B/ST7/04330 (Integrated optical circuits in novel liquid crystalline structures and materials).

References

- M.O. Ko, S. Kim, J. Kim, B.W. Lee, M.Y. Jeon, J. Opt. Soc. Korea 19, 346 (2015).

- K. Thingujama, S. Sarkara, B. Choudhurya, A. Bhattacharjeea, Acta Phys.  Polonica A 122(4), 754 (2012).

- T.A. El-Dessouki, M. Roushdy, N.I. Hendawy, M.M. Naoum, A.A. Zaki, J.  Modern Physics 4, 39 (2013).

- J. Li, S. Wu, S. Brugioni, R. Meucci, S. Faetti,  J. Appl. Phys. 97, 073501 (2005).

- B. Abbas, M.A. Khalil, Acta Phys. Polonica A 129, 59 (2016).

- S.R. Kachiraju, D. A. Gregory, Opt. Laser Techn. 44, 2361 (2012).

- J. Yan, M. Jiao, L. Rao, S. Wu, Opt. Expr. 18, 11450 (2010).

- K.A. Rutkowska, U.A. Laudyn, R.T. Rutkowski, M.A. Karpierz, T.R. Wolinski, J. Wójcik, Proc. SPIE 6582, 658215 (2007).

- J. Li, C. Wen, S. Gauza, R. Lu, S. Wu, J. Display Techn. 1, 51 (2005).

- K. Rutkowska, A. Kozak, K. Orzechowski, "Chromatic dispersion measurements of selected liquid crystalline materials for integrated optics applications," Proc.  SPIE (in press) (2016).

- E. Nowinowski-Kruszelnicki, J. Kędzierski, Z. Raszewski, L. Jaroszewicz, R. Dąbrowski, M. Kojdecki, W. Piecek, P. Perkowski, K. Garbat, M. Olifierczuk, Optica Applicata 42, 167 (2012).